{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":22,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet3","index":0,"n_rows":74,"n_cols":14,"rows_kept":74,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"Column1","Column2","Column3","Column4","Column5","Column6","Column7","Column8","Column9","Column10","Column11","Column12","Column13"]
[null,null,1,2,3,4,5,6,7,8,9,10,11,12]
[null,"BOXTAG","LS-02-02"]
[null,"AirType"]
[null,"FreefillType-1","Inlet size"]
[null,"FreefillAct-1","6\"ø"]
[null,"FreefillType-2","Discharge Air Temperature"]
[null,"FreefillAct-2",78.099999999999994]
[null,"FreefillType-3"]
[null,"FreefillAct-3"]
[null,"AirflowTotal"]
[null,"NumberOfTaps"]
[null,"TapNo-1",1]
[null,"RoomNo-1",2.1059999999999999]
[null,"Mark-1","A"]
[null,"Inlet-1","10\"ø"]
[null,"Readout-1",210]
[null,"CF-1",1]
[null,"TapNo-2",2]
[null,"RoomNo-2",2.1059999999999999]
[null,"Mark-2","A"]
[null,"Inlet-2","10\"ø"]
[null,"Readout-2",210]
[null,"CF-2",1]
[null,"TapNo-3",3]
[null,"RoomNo-3",2.1070000000000002]
[null,"Mark-3","A2"]
[null,"Inlet-3","12\"ø"]
[null,"Readout-3",300]
[null,"CF-3",1]
[null,"TapNo-4",4]
[null,"RoomNo-4",2.1070000000000002]
[null,"Mark-4","A3"]
[null,"Inlet-4","14\"ø"]
[null,"Readout-4",500]
[null,"CF-4",1.2]
[null,"TapNo-5",5]
[null,"RoomNo-5",2.1080000000000001]
[null,"Mark-5","A4"]
[null,"Inlet-5","16\"ø"]
[null,"Readout-5",750]
[null,"CF-5",1.3]
[null,"TapNo-6"]
[null,"RoomNo-6"]
[null,"Mark-6"]
[null,"Inlet-6"]
[null,"Readout-6"]
[null,"CF-6"]
[null,"TapNo-7"]
[null,"RoomNo-7"]
[null,"Mark-7"]
[null,"Inlet-7"]
[null,"Readout-7"]
[null,"CF-7"]
[null,"TapNo-8"]
[null,"RoomNo-8"]
[null,"Mark-8"]
[null,"Inlet-8"]
[null,"Readout-8"]
[null,"CF-8"]
[null,"TapNo-9"]
[null,"RoomNo-9"]
[null,"Mark-9"]
[null,"Inlet-9"]
[null,"Readout-9"]
[null,"CF-9"]
[null,"TapNo-10"]
[null,"RoomNo-10"]
[null,"Mark-10"]
[null,"Inlet-10"]
[null,"Readout-10"]
[null,"CF-10"]